[image: image1.jpg]


[image: image2.wmf] 

[image: image3.wmf] 

 
SecurityCam 

Choose the most advanced robotic streaming PTZ camera, enclosed in an all weather dome 

housing with fan, heater, and sun-shield.
[image: image4.jpg]


[image: image5.wmf] 



    
EarthCam SecurityCam Specification                                                          A&E Short Form*

1. Physical

Dimensions: Camera Dome 5.9” (15cm) Dome, 11.63” (29.5cm) Overall Length by 10.5” (26.7cm) Diameter,

Equipment Enclosure 14” H x 12” W x 8” D (35.5cm H x 30.48cm W x 20.32cm D)

Weight: Camera Dome and Mounts 25lbs (11.34Kg), Equipment Enclosure 25lbs (11.34kg) 
2. Environmental

Operation Temperature: - 40° F to + 122° F (- 40° C to + 50° C)
Camera Housing Has a Thermostatically Controlled Heater and Defroster

3. Construction

Camera: Aluminum Thermo Plastic Dome and Acrylic Bubble

Equipment Enclosure: Fiberglass

4. Camera

Imager: 1/4" CCD, Sensitivity: 0.018Lux @ 1/2sec (Color), 0.00018Lux @ 1/2sec (B-W)

Resolution: 768 x 494 NTSC, 752 x 582 PAL

Horizontal Resolution: 540 TV Lines NTSC/PAL

Lens: F-Stop: F/1.4, Motorized Zoom: 3.4mm – 119mm, 35x Optical 12x Digital

Auto Features: Iris, Focus, White Balance, Backlight Compensation, Day/Night Function, And Electronic Image Stabilization

Pan Tilt: Pan Range 360º, Tilt Range +2º to -92º

5. EarthCam Webcaster

Single Channel Video Server Webcaster 5001, Frames Per Second: 30fps

Compression: Motion JPEG, MPEG

Events Triggered by Motion Detection, External Inputs or Schedule and Alarm Notification Via E-mail, TCP, HTTP

Communication: 10Base-T/100Base-TX Ethernet, IP Addressing: Dynamic or Static

Designed for “EarthCam Control Center – Streaming Video Edition – Robotic with Mobile Support” Software

6. Electrical

Operational Voltage: 120VAC (230VAC Available), Power Consumption: 80Watts

7. Interface and Online Software Features

Software Delivered by Vendor as a Managed Service

Displays Company Logo and Project Name

Capable of Viewing Actual Live Video

Robotic Pan, Tilt, Zoom Control of Camera System

Calendar Based Navigation System for Selecting Specific Images 

Multifunction Image Browsing

Pan, Tilt and Zoom Capability within a High Definition Image

A Multiview Screen to View All Cameras on Project at the Same Time

Graphical Mark-Up Tools for Detailing and Creating Overlays on Images

Graphical Weather Applet Displaying Ten Points of Local Weather Data and 48-hour Forecast 

Remote Solar Monitoring Screen Displaying the DC Amperage Output of Solar Panels

Remote Battery Monitoring Screen Displaying Battery Voltage, Temperature and Status

Remote Cellular Monitoring Screen Displaying Connectivity, Network Traffic and Modem Temperature

Remote Wireless Radio Monitoring Screen Displaying Connectivity, Network Traffic and 

Google Map Features Including Wireless Radio Locations

Share Image Tools: Save, Print, Email and Post to Message Board or Mobile Devices

Automated Progress Report in PowerPoint, Open Office and PDF Formats

Map, Aerial and Satellite View by Google

Time-Lapse Feature Includes – Instant Time-Lapse Play Back by Day, Week, Month or Year

Machine to Machine Self-Healing Technology Automates Maintenance of Camera Up to 288 Times Daily

Account Management Tools Include – Four Levels of Password Protection, IP Address Block/ Permission and SSL Protection of User Login Password

All Images are the Copyright of the Client and Protected on Secure Servers Owned and Operated by the 

System Vendor

Product Features





Monitor and Protect your property.





· Remote Pan/Tilt/Zoom controls with multiple preset compositions�· Powerful 35X optical, 12X digital zoom�· 360° rotation�· Color by day and black-and-white infrared vision at night�· Motion detection with alarm trigger notifies your mobile device�· All weather dome housing with fan and heater�· Produces excellent images in low light conditions (0.00018 lux)�· Fast Pan/Tilt/Zoom with recordable patrol mode�· Electronic image stabilization reduces blurring due to vibration�· Fast, dependable, solid state Linux system


· Lease or purchase








�





� EMBED Word.Picture.8  ���





� EMBED Word.Picture.8  ���











�





Architectural & Engineering Specifications


    Product:  ECCS04110


Revised:  06-10-2010





DOWNLOAD ELECTRONIC VERSION OF THIS SPECS





� HYPERLINK " http://www.earthcam.net/aespecs/securitycam" �� http://www.earthcam.net/aespecs/securitycam�





For additional EarthCam A&E specs visit: � HYPERLINK "http://www.earthcam.net/aespecs/systems" ��http://www.earthcam.net/aespecs/systems�








*Visit EarthCam.net for the full version of this A&E specification.                         6/10 ©2010 EarthCam, Inc
84 Kennedy Street,  Hackensack,   NJ  07601  USA      Ph.  201.488.1111     Fax.  201.488.1119     info@earthcam.net

_1310282618.doc
[image: image1.jpg]Q EarthCam

== Webcam Technology







_1322037776.doc
[image: image1.jpg]






